## Serial Numbers
Device Type | Serial Number | Reason for Return | Investigation Reason | Additional Information

## Information (hidden)
Additional Information (Continued)
List of Device Types | If Device is Not Working Correctly
RENASYS TOUCH | Device does not turn on
RENASYS EDGE | Battery does not charge / does not hold charge
Device failed self-test (EDGE)
NFC Feature on EDGE does not connect
Device is noisy or vibrating
Reason for Return | Negative pressure is incorrect / unstable
Device is working correctly and is being returned because the device is no longer required | Device does not pass the electrical safety test
Device is being returned for planned PREVENTIVE MAINTENANCE or SOFTWARE UPDATE | Device has a bad odor
Device is being returned for INVESTIGATION | Device is overheating
Device is at the end of its' Service Life and needs to be disposed of properly | Other
Additional Information
If Device is Damaged: | If Device has Shown an Error Light
No Investigation Necessary
Device housing is damaged | Battery Alarm
LCD display panel is damaged | High Vacuum Alarm
Keypad / push buttons are damaged | Leak Alarm
Something is loose inside the device | Low Vacuum Alarm
IV pole clamp / bed clamp is damaged | Canister Full/ Blockage Alarm
Power input connector is damaged | Device failed self-test (EDGE)
Canister bracket is damaged
Device labels are missing or illegible
Broken handle (EDGE) | IF DEVICE HAS ERROR, PLEASE PUT ERROR CODE OR MESSAGE IN "ADDITIONAL INFORMATION"
Canister Eject Button damaged, stuck, or unclear (EDGE)
External power supply unit or cable is damaged
A part is missing
Device does not turn on
Battery does not charge / does not hold charge
Device failed self-test (EDGE)
NFC Feature on EDGE does not connect
Device is noisy or vibrating
Negative pressure is incorrect / unstable
Device does not pass the electrical safety test
Device has a bad odor
Device is overheating
Error Light- Battery Alarm
Error Light- High Vacuum Alarm
Error Light- Leak Alarm
Error Light- Low Vacuum Alarm
Error Light- Canister Full/ Blockage Alarm
Error Light- Device failed self-test (EDGE)
Other